ADDENDUM # 1 – JUNE 15, 2012

BOROUGH OF NORTH PLAINFIELD

SOMERSET COUNTY, NEW JERSEY

MUNICIPAL COMPLEX EXTERIOR FAÇADE REPAIRS

NOTICE TO BIDDERS

PROJECT:

MUNICIPAL COMPLEX

263 SOMERSET STREET

EXTERIOR FAÇADE REPAIRS

NOTE: THE BID OPENING DATE AND TIME HAS BEEN CHANGED AND IS NOW JUNE 26, 2012 AT 10:00 AM

The attention of all Bidders is called to the following Addendum. This Addendum is hereby included in and made a part of the Contract Documents, whether or not attached thereto.

All requirements of the original contract documents dated May 14, 2012 remain unchanged except sections or parts added to revised, deleted or clarified by this addendum. Failure to acknowledge the receipt of the addendum on the bid forms may subject your bid to rejection.

The bid referenced above is hereby changed as follows:

At the Bid Walkthrough meeting held on June 7, 2012, Bidders pointed out to the Owners Representative that Unit Prices are not part of the contract and the statement made in the Project Information Outlines (color photographs in the project manual):

“Repointing: Remove and replace all loose, cracked or deteriorated mortar at all wall areas as identified by Owners representative with specified repointing mortar”

Is not sufficient for the bidders purposes in determining a quantity in square feet where repointing is needed.

In response, the above statement wherever it appears in the Information Outlines, the aforementioned italicized statement:

“Repointing: Remove and replace all loose, cracked or deteriorated mortar at all wall areas as identified by Owners representative with specified repointing mortar”

Shall be replaced with:

“Repointing: Remove and replace all loose, cracked or deteriorated mortar at all wall areas as indicated in Table 1 of the Bid Addendum # 1 dated June 11, 2012.”

Therefore Table 1 is as follows below and indicates the quantity in square feet for purposes of the Bid that the Bidder shall allow and is to be included for EACH SECTION OF THE WORK, SECTIONS 01 THROUGH 10 for repointing:

Table 1:

Note that the square footage amounts are not in one continuous area but may be at multiple areas in any combination of quantities to equal the total square footage in each area and may or may not require scaffolding to perform the work.

In addition, Specification Section 01 22 00 UNIT PRICES shall be revised as follows:

Delete the sentence:

“Unit prices shall not be used.”

And replace that sentence with:

“Unit prices shall only be used for additional repointing exceeding ten percent (10%) above the total square footage set forth in Table 1, regardless of location, in the event that repointing of mortar joints in excess of the amount indicated in Bid Addendum # 1 Dated June 15, 2012 is required by the Contractor and authorized by the Owner’s representative based on conditions found during the performance of the work.”

Therefore Bidders are required to complete below and turn in this Addendum # 1 in the Bidders Bid Forms Envelope with the following Unit Price for:

Unit Price # 1:

Remove and replace additional loose, cracked or deteriorated mortar at all wall areas as identified by Owners representative with specified repointing mortar.

Unit Price # 1:	$______________________________________________________      per square foot

(fill in with Numbers and Words)

Name of Bidder  ____________________________  Company ___________________________________

OTHER CLARIFICATIONS  AND CORRECTIONS:

ITEM NO. 1: - SPECIFICATION SECTION  00 21 13 INSTRUCTIONS TO BIDDERS AND STATUTORY REQUIREMENTS, SUBSECTION VII, PARAGRAPH F. PREVAILING WAGE ACT :

In Subparagraph 2 , the date for determining the prevailing wage rate is incorrectly indicated as beginning on August 2010 and ending on August of 2011.

Subparagraph 2 shall be deleted and Bidders are instructed to strike sub paragraph 2 from their copy of the specifications  and refer to the Somerset County Prevailing Wage Rate Determination consisting of 74 pages bound into the May 14, 2012 specifications.

ITEM NO. 2: - SPECIFICATION SECTION  01 78 33 BONDS: PARAGRAPH A:

After the words: labor and material payment bond: insert a comma (,) and the words “maintenance bond”

END OF ADDENDUM