ADDENDUM NO. 1

July 23, 2013

BOROUGH OF NORTH PLAINFIELD, SOMERSET COUNTY, NEW JERSEY

NORTH PLAINFIELD MUNICIPAL BUILDING ROOF REHABILITATION

PROJECT # SCE-7182

To All Concerned:

The Contract Documents associated with the North Plainfield Municipal Building Roof Rehabilitation  project prepared by Suburban Consulting Engineers, Inc., dated July 2013, are revised as follows:

CONCERNING THE Legal Notice :

- Regarding the Bid Due Date:

  - SUBSTITUTE BID DUE DATE – July 30, 2013

WITH – August 6, 2013

- Regarding the anticipated date of Notice to Proceed:

  - SUBSTITUTE SENTENCE- Notice to Proceed will be issued on or about August 1, 2013.

WITH – Notice to Proceed will be issued on or about September 1, 2013.

CONCERNING THE General Instructions and Conditions For Bidders section :

- Correction of Owner Reference:

  - SUBSTITUTE REFERENCE - Sisters of Mercy Mid-Atlantic Community

WITH -  Borough of North Plainfield

CONCERNING THE NORTH PLAINFIELD MUNICIPAL BUILDING ROOF REHABILITATION PLANS:

- Regarding LOWER ROOF AREA , Sheet 1 of 4:

  - Add Note 10:  Less than 8” vertical curb at AHU to be raised may be allowed ONLY with EPDM Manufacturers’ written approval indicating no consequence to warrantee.

  - Add Note 11:  Three (3) existing roof vents (24”x24”) to be removed and sealed as skylights with fabricated steel frame and decking.

- Regarding UPPER ROOF AREA, Sheet 2 of 4:

  - Add Note 11:  Temporary Wood Deck Repair (36”x24”) to be replaced at doorway threshold.

No replacement drawings will be supplied as part of Addendum 1.  Revisions will be made on the Construction Plans to be supplied upon award of contract.

END OF ADDENDUM NO. 1

ANDREW S. HOLT, P.E., N.J.P.E. LICENSE # 38554

PRINCIPAL ENGINEER